## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN09jun21_001.gcd | 2021-07-09 10:36 | air | Unknown | 0 | 6.042 | 1340 | -0.002 | ----- | ----- | ----- | ----- | 39 | BRN09jun21_001.gcd | 2021-07-09 10:36 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN09jun21_001.gcd | 2021-07-09 10:36 | air | Unknown | 0 | 12.209 | 3527 | 0.714 | ----- | ----- | ----- | ----- | 1 |  | -0.70814 | 687.955 | -1.6962 | 670.3021
40 | BRN09jun21_002.gcd | 2021-07-09 11:06 | air + 100 | Unknown | 0 | 6.001 | 844676 | 1.757 | ----- | ----- | ----- | ----- | 40 | BRN09jun21_002.gcd | 2021-07-09 11:06 | air + 100 | Unknown | 0 | 5.955 | 6898 | 1.967 | ----- | ----- | ----- | ----- | 40 | BRN09jun21_002.gcd | 2021-07-09 11:06 | air + 100 | Unknown | 0 | 12.16 | 9673 | 1.94 | ----- | ----- | ----- | ----- | 1 |  | 1869.5865 | 1822.331 | 2053.7922 | 1844.0982
41 | BRN09jun21_003.gcd | 2021-07-09 11:37 | 91 | Unknown | 0 | 6.001 | 699310 | 1.454 | ----- | ----- | ----- | ----- | 41 | BRN09jun21_003.gcd | 2021-07-09 11:37 | 91 | Unknown | 0 | 5.951 | 6747 | 1.926 | ----- | ----- | ----- | ----- | 41 | BRN09jun21_003.gcd | 2021-07-09 11:37 | 91 | Unknown | 0 | 12.066 | 91086 | 17.956 | ----- | ----- | ----- | ----- | 1 |  | 1797.853 | 16401.3931 | 1783.1465 | 17276.8815
42 | BRN09jun21_004.gcd | 2021-07-09 12:07 | 163 | Unknown | 0 | 6.01 | 512425 | 1.064 | ----- | ----- | ----- | ----- | 42 | BRN09jun21_004.gcd | 2021-07-09 12:07 | 163 | Unknown | 0 | 5.969 | 4225 | 1.249 | ----- | ----- | ----- | ----- | 42 | BRN09jun21_004.gcd | 2021-07-09 12:07 | 163 | Unknown | 0 | 12.167 | 9397 | 1.885 | ----- | ----- | ----- | ----- | 1 |  | 1395.6798 | 1771.491 | 1318.0829 | 1791.4126
43 | BRN09jun21_005.gcd | 2021-07-09 12:38 | 77 | Unknown | 0 | 6.008 | 398908 | 0.827 | ----- | ----- | ----- | ----- | 43 | BRN09jun21_005.gcd | 2021-07-09 12:38 | 77 | Unknown | 0 | 5.954 | 3578 | 1.076 | ----- | ----- | ----- | ----- | 43 | BRN09jun21_005.gcd | 2021-07-09 12:38 | 77 | Unknown | 0 | 12.095 | 68589 | 13.571 | ----- | ----- | ----- | ----- | 1 |  | 1123.5603 | 12455.9322 | 1031.473 | 13033.8644
44 | BRN09jun21_006.gcd | 2021-07-09 13:09 | 16 | Unknown | 0 | 6.002 | 560571 | 1.164 | ----- | ----- | ----- | ----- | 44 | BRN09jun21_006.gcd | 2021-07-09 13:09 | 16 | Unknown | 0 | 5.95 | 4097 | 1.215 | ----- | ----- | ----- | ----- | 44 | BRN09jun21_006.gcd | 2021-07-09 13:09 | 16 | Unknown | 0 | 12.16 | 5547 | 1.117 | ----- | ----- | ----- | ----- | 1 |  | 1504.7411 | 1061.3124 | 1438.7019 | 1056.2281
45 | BRN09jun21_007.gcd | 2021-07-09 13:39 | 46 | Unknown | 0 | 6.004 | 800290 | 1.665 | ----- | ----- | ----- | ----- | 45 | BRN09jun21_007.gcd | 2021-07-09 13:39 | 46 | Unknown | 0 | 5.951 | 6875 | 1.961 | ----- | ----- | ----- | ----- | 45 | BRN09jun21_007.gcd | 2021-07-09 13:39 | 46 | Unknown | 0 | 12.2 | 113138 | 22.224 | ----- | ----- | ----- | ----- | 1 |  | 1865.2178 | 20207.1462 | 2047.9014 | 21419.9962
46 | BRN09jun21_008.gcd | 2021-07-09 14:10 | 81 | Unknown | 0 | 6.006 | 46451 | 0.092 | ----- | ----- | ----- | ----- | 46 | BRN09jun21_008.gcd | 2021-07-09 14:10 | 81 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN09jun21_008.gcd | 2021-07-09 14:10 | 81 | Unknown | 0 | 12.159 | 8052 | 1.617 | ----- | ----- | ----- | ----- | 1 |  | 144.6117 | 1523.6011 | 121.7264 | 1534.6302
47 | BRN09jun21_009.gcd | 2021-07-09 14:40 | 68 | Unknown | 0 | 6.012 | 4228 | 0.004 | ----- | ----- | ----- | ----- | 47 | BRN09jun21_009.gcd | 2021-07-09 14:40 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN09jun21_009.gcd | 2021-07-09 14:40 | 68 | Unknown | 0 | 12.153 | 12462 | 2.495 | ----- | ----- | ----- | ----- | 1 |  | 7.4456 | 2335.5365 | 8.4127 | 2376.3512
48 | BRN09jun21_010.gcd | 2021-07-09 15:11 | 57 | Unknown | 0 | 6.048 | 1009 | -0.003 | ----- | ----- | ----- | ----- | 48 | BRN09jun21_010.gcd | 2021-07-09 15:11 | 57 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN09jun21_010.gcd | 2021-07-09 15:11 | 57 | Unknown | 0 | 12.1 | 60676 | 12.022 | ----- | ----- | ----- | ----- | 1 |  | -1.62 | 11053.0678 | -2.9166 | 11537.5308
49 | BRN09jun21_011.gcd | 2021-07-09 15:42 | 131 | Unknown | 0 | 6.005 | 420725 | 0.872 | ----- | ----- | ----- | ----- | 49 | BRN09jun21_011.gcd | 2021-07-09 15:42 | 131 | Unknown | 0 | 5.951 | 4020 | 1.194 | ----- | ----- | ----- | ----- | 49 | BRN09jun21_011.gcd | 2021-07-09 15:42 | 131 | Unknown | 0 | 12.101 | 61345 | 12.153 | ----- | ----- | ----- | ----- | 1 |  | 1177.4923 | 11171.9764 | 1086.7988 | 11664.1162
50 | BRN09jun21_012.gcd | 2021-07-09 16:12 | 51 | Unknown | 0 | 6.005 | 171059 | 0.352 | ----- | ----- | ----- | ----- | 50 | BRN09jun21_012.gcd | 2021-07-09 16:12 | 51 | Unknown | 0 | 5.97 | 1473 | 0.51 | ----- | ----- | ----- | ----- | 50 | BRN09jun21_012.gcd | 2021-07-09 16:12 | 51 | Unknown | 0 | 12.063 | 101660 | 20.006 | ----- | ----- | ----- | ----- | 1 |  | 513.8835 | 18233.8814 | 446.7917 | 19265.4909
51 | BRN09jun21_013.gcd | 2021-07-09 16:43 | 136 | Unknown | 0 | 6.007 | 43423 | 0.086 | ----- | ----- | ----- | ----- | 51 | BRN09jun21_013.gcd | 2021-07-09 16:43 | 136 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN09jun21_013.gcd | 2021-07-09 16:43 | 136 | Unknown | 0 | 12.162 | 9814 | 1.968 | ----- | ----- | ----- | ----- | 1 |  | 135.3229 | 1848.2999 | 113.7805 | 1871.0127
52 | BRN09jun21_014.gcd | 2021-07-09 17:13 | 190 | Unknown | 0 | 6.007 | 44059 | 0.087 | ----- | ----- | ----- | ----- | 52 | BRN09jun21_014.gcd | 2021-07-09 17:13 | 190 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN09jun21_014.gcd | 2021-07-09 17:13 | 190 | Unknown | 0 | 12.085 | 82032 | 16.195 | ----- | ----- | ----- | ----- | 1 |  | 137.2751 | 14821.1678 | 115.4497 | 15571.2428
53 | BRN09jun21_015.gcd | 2021-07-09 17:44 | 26 | Unknown | 0 | 6.029 | 2357 | 0 | ----- | ----- | ----- | ----- | 53 | BRN09jun21_015.gcd | 2021-07-09 17:44 | 26 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN09jun21_015.gcd | 2021-07-09 17:44 | 26 | Unknown | 0 | 12.133 | 31077 | 6.191 | ----- | ----- | ----- | ----- | 1 |  | 2.1227 | 5735.8838 | 1.9739 | 5922.3608
54 | BRN09jun21_016.gcd | 2021-07-09 18:15 | 12 | Unknown | 0 | 6.006 | 668834 | 1.39 | ----- | ----- | ----- | ----- | 54 | BRN09jun21_016.gcd | 2021-07-09 18:15 | 12 | Unknown | 0 | 5.956 | 6119 | 1.758 | ----- | ----- | ----- | ----- | 54 | BRN09jun21_016.gcd | 2021-07-09 18:15 | 12 | Unknown | 0 | 12.158 | 9746 | 1.954 | ----- | ----- | ----- | ----- | 1 |  | 1736.1598 | 1835.7762 | 1707.8832 | 1858.0328
55 | BRN09jun21_017.gcd | 2021-07-09 18:45 | 192 | Unknown | 0 | 6.011 | 668413 | 1.389 | ----- | ----- | ----- | ----- | 55 | BRN09jun21_017.gcd | 2021-07-09 18:45 | 192 | Unknown | 0 | 5.965 | 5239 | 1.521 | ----- | ----- | ----- | ----- | 55 | BRN09jun21_017.gcd | 2021-07-09 18:45 | 192 | Unknown | 0 | 12.076 | 95819 | 18.874 | ----- | ----- | ----- | ----- | 1 |  | 1735.2969 | 17223.3636 | 1706.8419 | 18167.4472
56 | BRN09jun21_018.gcd | 2021-07-09 19:16 | 10 | Unknown | 0 | 6.015 | 157790 | 0.324 | ----- | ----- | ----- | ----- | 56 | BRN09jun21_018.gcd | 2021-07-09 19:16 | 10 | Unknown | 0 | 5.972 | 1560 | 0.533 | ----- | ----- | ----- | ----- | 56 | BRN09jun21_018.gcd | 2021-07-09 19:16 | 10 | Unknown | 0 | 12.079 | 103484 | 20.359 | ----- | ----- | ----- | ----- | 1 |  | 475.7671 | 18548.5635 | 412.3554 | 19608.1555
57 | BRN09jun21_019.gcd | 2021-07-09 19:47 | 76 | Unknown | 0 | 6.007 | 453280 | 0.94 | ----- | ----- | ----- | ----- | 57 | BRN09jun21_019.gcd | 2021-07-09 19:47 | 76 | Unknown | 0 | 5.95 | 3844 | 1.147 | ----- | ----- | ----- | ----- | 57 | BRN09jun21_019.gcd | 2021-07-09 19:47 | 76 | Unknown | 0 | 12.107 | 61851 | 12.252 | ----- | ----- | ----- | ----- | 1 |  | 1256.524 | 11261.8759 | 1169.1413 | 11759.8498
58 | BRN09jun21_020.gcd | 2021-07-09 20:17 | 45 | Unknown | 0 | 6.008 | 269231 | 0.556 | ----- | ----- | ----- | ----- | 58 | BRN09jun21_020.gcd | 2021-07-09 20:17 | 45 | Unknown | 0 | 5.956 | 2071 | 0.671 | ----- | ----- | ----- | ----- | 58 | BRN09jun21_020.gcd | 2021-07-09 20:17 | 45 | Unknown | 0 | 12.09 | 81213 | 16.035 | ----- | ----- | ----- | ----- | 1 |  | 786.9622 | 14677.7174 | 700.2491 | 15416.8239
59 | BRN09jun21_021.gcd | 2021-07-09 20:48 | 182 | Unknown | 0 | 6.012 | 11144 | 0.018 | ----- | ----- | ----- | ----- | 59 | BRN09jun21_021.gcd | 2021-07-09 20:48 | 182 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN09jun21_021.gcd | 2021-07-09 20:48 | 182 | Unknown | 0 | 12.101 | 73223 | 14.477 | ----- | ----- | ----- | ----- | 1 |  | 28.4125 | 13273.8261 | 28.9383 | 13909.1999
60 | BRN09jun21_022.gcd | 2021-07-09 21:18 | 21 | Unknown | 0 | 6.041 | 2253 | 0 | ----- | ----- | ----- | ----- | 60 | BRN09jun21_022.gcd | 2021-07-09 21:18 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN09jun21_022.gcd | 2021-07-09 21:18 | 21 | Unknown | 0 | 12.147 | 31378 | 6.251 | ----- | ----- | ----- | ----- | 1 |  | 1.8312 | 5790.5092 | 1.6041 | 5979.6063
61 | BRN09jun21_023.gcd | 2021-07-09 21:49 | 138 | Unknown | 0 | 6.019 | 4177 | 0.004 | ----- | ----- | ----- | ----- | 61 | BRN09jun21_023.gcd | 2021-07-09 21:49 | 138 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN09jun21_023.gcd | 2021-07-09 21:49 | 138 | Unknown | 0 | 12.094 | 76510 | 15.119 | ----- | ----- | ----- | ----- | 1 |  | 7.2985 | 13852.3422 | 8.2426 | 14529.6715
62 | BRN09jun21_024.gcd | 2021-07-09 22:20 | 159 | Unknown | 0 | 6.006 | 855147 | 1.779 | ----- | ----- | ----- | ----- | 62 | BRN09jun21_024.gcd | 2021-07-09 22:20 | 159 | Unknown | 0 | 5.956 | 8622 | 2.429 | ----- | ----- | ----- | ----- | 62 | BRN09jun21_024.gcd | 2021-07-09 22:20 | 159 | Unknown | 0 | 12.07 | 98679 | 19.429 | ----- | ----- | ----- | ----- | 1 |  | 2197.062 | 17718.6909 | 2495.2888 | 18705.2343
63 | BRN09jun21_025.gcd | 2021-07-09 22:50 | 41 | Unknown | 0 | 6.007 | 380065 | 0.788 | ----- | ----- | ----- | ----- | 63 | BRN09jun21_025.gcd | 2021-07-09 22:50 | 41 | Unknown | 0 | 5.951 | 3743 | 1.12 | ----- | ----- | ----- | ----- | 63 | BRN09jun21_025.gcd | 2021-07-09 22:50 | 41 | Unknown | 0 | 12.071 | 96359 | 18.979 | ----- | ----- | ----- | ----- | 1 |  | 1076.3548 | 17316.9656 | 983.5962 | 18269.0078
64 | BRN09jun21_026.gcd | 2021-07-09 23:21 | 111 | Unknown | 0 | 6.007 | 151474 | 0.311 | ----- | ----- | ----- | ----- | 64 | BRN09jun21_026.gcd | 2021-07-09 23:21 | 111 | Unknown | 0 | 5.949 | 1452 | 0.504 | ----- | ----- | ----- | ----- | 64 | BRN09jun21_026.gcd | 2021-07-09 23:21 | 111 | Unknown | 0 | 12.05 | 107768 | 21.187 | ----- | ----- | ----- | ----- | 1 |  | 457.5228 | 19286.0101 | 395.9489 | 20412.5409