## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN10aug21_001.gcd | 2021-08-10 10:42 | air | Unknown | 0 | 6.068 | 2390 | 0 | ----- | ----- | ----- | ----- | 39 | BRN10aug21_001.gcd | 2021-08-10 10:42 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN10aug21_001.gcd | 2021-08-10 10:42 | air | Unknown | 0 | 12.198 | 2343 | 0.477 | ----- | ----- | ----- | ----- | 1 |  | 2.2153 | 468.8776 | 2.091 | 444.0343
40 | BRN10aug21_002.gcd | 2021-08-10 11:13 | air + 100 scratch made | Unknown | 0 | 6.003 | 971998 | 2.023 | ----- | ----- | ----- | ----- | 40 | BRN10aug21_002.gcd | 2021-08-10 11:13 | air + 100 scratch made | Unknown | 0 | 5.956 | 7410 | 2.104 | ----- | ----- | ----- | ----- | 40 | BRN10aug21_002.gcd | 2021-08-10 11:13 | air + 100 scratch made | Unknown | 0 | 12.177 | 9923 | 1.99 | ----- | ----- | ----- | ----- | 1 |  | 1966.8394 | 1868.3735 | 2184.922 | 1891.8185
41 | BRN10aug21_003.gcd | 2021-08-10 11:43 | 102 | Unknown | 0 | 6.009 | 413512 | 0.857 | ----- | ----- | ----- | ----- | 41 | BRN10aug21_003.gcd | 2021-08-10 11:43 | 102 | Unknown | 0 | 5.966 | 3398 | 1.027 | ----- | ----- | ----- | ----- | 41 | BRN10aug21_003.gcd | 2021-08-10 11:43 | 102 | Unknown | 0 | 12.114 | 52226 | 10.363 | ----- | ----- | ----- | ----- | 1 |  | 1159.7476 | 9546.3218 | 1068.5201 | 9937.4032
42 | BRN10aug21_004.gcd | 2021-08-10 12:14 | 69 | Unknown | 0 | 6.006 | 1951251 | 4.071 | ----- | ----- | ----- | ----- | 42 | BRN10aug21_004.gcd | 2021-08-10 12:14 | 69 | Unknown | 0 | 5.959 | 15697 | 4.324 | ----- | ----- | ----- | ----- | 42 | BRN10aug21_004.gcd | 2021-08-10 12:14 | 69 | Unknown | 0 | 12.085 | 76710 | 15.158 | ----- | ----- | ----- | ----- | 1 |  | 3541.1697 | 13887.4987 | 4305.8656 | 14567.4133
43 | BRN10aug21_005.gcd | 2021-08-10 12:45 | 164 | Unknown | 0 | 5.984 | 8603413 | 18.115 | ----- | ----- | ----- | ----- | 43 | BRN10aug21_005.gcd | 2021-08-10 12:45 | 164 | Unknown | 0 | 5.938 | 62912 | 16.87 | ----- | ----- | ----- | ----- | 43 | BRN10aug21_005.gcd | 2021-08-10 12:45 | 164 | Unknown | 0 | 12.119 | 45797 | 9.098 | ----- | ----- | ----- | ----- | 1 |  | 12519.4906 | 8393.9422 | 16337.3014 | 8718.4252
44 | BRN10aug21_006.gcd | 2021-08-10 13:15 | 74 | Unknown | 0 | 6.009 | 37406 | 0.073 | ----- | ----- | ----- | ----- | 44 | BRN10aug21_006.gcd | 2021-08-10 13:15 | 74 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN10aug21_006.gcd | 2021-08-10 13:15 | 74 | Unknown | 0 | 12.118 | 49856 | 9.897 | ----- | ----- | ----- | ----- | 1 |  | 116.8204 | 9122.11 | 97.9845 | 9488.193
45 | BRN10aug21_007.gcd | 2021-08-10 13:46 | 133 | Unknown | 0 | 5.993 | 4764916 | 9.983 | ----- | ----- | ----- | ----- | 45 | BRN10aug21_007.gcd | 2021-08-10 13:46 | 133 | Unknown | 0 | 5.944 | 34820 | 9.427 | ----- | ----- | ----- | ----- | 45 | BRN10aug21_007.gcd | 2021-08-10 13:46 | 133 | Unknown | 0 | 12.039 | 124026 | 24.32 | ----- | ----- | ----- | ----- | 1 |  | 7175.8008 | 22063.6941 | 9189.6145 | 23459.7946
46 | BRN10aug21_008.gcd | 2021-08-10 14:16 | 147 | Unknown | 0 | 6.013 | 19763 | 0.036 | ----- | ----- | ----- | ----- | 46 | BRN10aug21_008.gcd | 2021-08-10 14:16 | 147 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN10aug21_008.gcd | 2021-08-10 14:16 | 147 | Unknown | 0 | 12.184 | 1884 | 0.386 | ----- | ----- | ----- | ----- | 1 |  | 62.227 | 383.9008 | 51.6172 | 356.3051
47 | BRN10aug21_009.gcd | 2021-08-10 14:47 | 154 | Unknown | 0 | 6.007 | 2827670 | 5.909 | ----- | ----- | ----- | ----- | 47 | BRN10aug21_009.gcd | 2021-08-10 14:47 | 154 | Unknown | 0 | 5.957 | 21649 | 5.915 | ----- | ----- | ----- | ----- | 47 | BRN10aug21_009.gcd | 2021-08-10 14:47 | 154 | Unknown | 0 | 12.086 | 95235 | 18.761 | ----- | ----- | ----- | ----- | 1 |  | 4672.1847 | 17122.0936 | 5827.4972 | 18057.6006
48 | BRN10aug21_010.gcd | 2021-08-10 15:18 | 118 | Unknown | 0 | 6.009 | 69941 | 0.141 | ----- | ----- | ----- | ----- | 48 | BRN10aug21_010.gcd | 2021-08-10 15:18 | 118 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN10aug21_010.gcd | 2021-08-10 15:18 | 118 | Unknown | 0 | 12.165 | 8591 | 1.724 | ----- | ----- | ----- | ----- | 1 |  | 216.1622 | 1622.9686 | 183.292 | 1637.5411
49 | BRN10aug21_011.gcd | 2021-08-10 15:48 | 98 | Unknown | 0 | 5.943 | 28429414 | 61.427 | ----- | ----- | ----- | ----- | 49 | BRN10aug21_011.gcd | 2021-08-10 15:48 | 98 | Unknown | 0 | 5.899 | 216919 | 56.636 | ----- | ----- | ----- | ----- | 49 | BRN10aug21_011.gcd | 2021-08-10 15:48 | 98 | Unknown | 0 | 12.072 | 93472 | 18.419 | ----- | ----- | ----- | ----- | 1 |  | 41906.99 | 16816.1164 | 54959.7608 | 17725.9245
50 | BRN10aug21_012.gcd | 2021-08-10 16:19 | 88 | Unknown | 0 | 6.012 | 26382 | 0.05 | ----- | ----- | ----- | ----- | 50 | BRN10aug21_012.gcd | 2021-08-10 16:19 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN10aug21_012.gcd | 2021-08-10 16:19 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 82.768 | #VALUE! | 69.0213 | #VALUE!
51 | BRN10aug21_013.gcd | 2021-08-10 16:49 | 57 | Unknown | 0 | 6.016 | 58562 | 0.117 | ----- | ----- | ----- | ----- | 51 | BRN10aug21_013.gcd | 2021-08-10 16:49 | 57 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN10aug21_013.gcd | 2021-08-10 16:49 | 57 | Unknown | 0 | 12.169 | 7390 | 1.485 | ----- | ----- | ----- | ----- | 1 |  | 181.6143 | 1401.508 | 153.4851 | 1408.222
52 | BRN10aug21_014.gcd | 2021-08-10 17:20 | 82 | Unknown | 0 | 6.011 | 66534 | 0.134 | ----- | ----- | ----- | ----- | 52 | BRN10aug21_014.gcd | 2021-08-10 17:20 | 82 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN10aug21_014.gcd | 2021-08-10 17:20 | 82 | Unknown | 0 | 12.162 | 6739 | 1.355 | ----- | ----- | ----- | ----- | 1 |  | 205.8404 | 1281.39 | 174.3708 | 1283.9004
53 | BRN10aug21_015.gcd | 2021-08-10 17:51 | 45 | Unknown | 0 | 5.996 | 4480109 | 9.383 | ----- | ----- | ----- | ----- | 53 | BRN10aug21_015.gcd | 2021-08-10 17:51 | 45 | Unknown | 0 | 5.95 | 34012 | 9.212 | ----- | ----- | ----- | ----- | 53 | BRN10aug21_015.gcd | 2021-08-10 17:51 | 45 | Unknown | 0 | 12.049 | 118656 | 23.287 | ----- | ----- | ----- | ----- | 1 |  | 7022.1789 | 21149.8981 | 8983.5595 | 22454.2407
54 | BRN10aug21_016.gcd | 2021-08-10 18:21 | 203 | Unknown | 0 | 6.022 | 35894 | 0.07 | ----- | ----- | ----- | ----- | 54 | BRN10aug21_016.gcd | 2021-08-10 18:21 | 203 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN10aug21_016.gcd | 2021-08-10 18:21 | 203 | Unknown | 0 | 12.136 | 53502 | 10.614 | ----- | ----- | ----- | ----- | 1 |  | 112.1617 | 9774.4239 | 94.0138 | 10179.1807
55 | BRN10aug21_017.gcd | 2021-08-10 18:52 | 107 | Unknown | 0 | 6.009 | 2798096 | 5.846 | ----- | ----- | ----- | ----- | 55 | BRN10aug21_017.gcd | 2021-08-10 18:52 | 107 | Unknown | 0 | 5.962 | 22731 | 6.205 | ----- | ----- | ----- | ----- | 55 | BRN10aug21_017.gcd | 2021-08-10 18:52 | 107 | Unknown | 0 | 12.086 | 89485 | 17.645 | ----- | ----- | ----- | ----- | 1 |  | 4877.8143 | 16122.7141 | 6103.9583 | 16975.471
56 | BRN10aug21_018.gcd | 2021-08-10 19:22 | 208 | Unknown | 0 | 6.005 | 4676486 | 9.797 | ----- | ----- | ----- | ----- | 56 | BRN10aug21_018.gcd | 2021-08-10 19:22 | 208 | Unknown | 0 | 5.958 | 38992 | 10.536 | ----- | ----- | ----- | ----- | 56 | BRN10aug21_018.gcd | 2021-08-10 19:22 | 208 | Unknown | 0 | 12.062 | 116443 | 22.861 | ----- | ----- | ----- | ----- | 1 |  | 7969.0752 | 20772.2655 | 10253.1349 | 22039.5747
57 | BRN10aug21_019.gcd | 2021-08-10 19:53 | 87 | Unknown | 0 | 6.011 | 1982471 | 4.137 | ----- | ----- | ----- | ----- | 57 | BRN10aug21_019.gcd | 2021-08-10 19:53 | 87 | Unknown | 0 | 5.964 | 15737 | 4.335 | ----- | ----- | ----- | ----- | 57 | BRN10aug21_019.gcd | 2021-08-10 19:53 | 87 | Unknown | 0 | 12.099 | 78222 | 15.453 | ----- | ----- | ----- | ----- | 1 |  | 3548.7698 | 14153.1192 | 4316.0964 | 14852.6986
58 | BRN10aug21_020.gcd | 2021-08-10 20:24 | 96 | Unknown | 0 | 6.004 | 4174336 | 8.739 | ----- | ----- | ----- | ----- | 58 | BRN10aug21_020.gcd | 2021-08-10 20:24 | 96 | Unknown | 0 | 5.957 | 31746 | 8.608 | ----- | ----- | ----- | ----- | 58 | BRN10aug21_020.gcd | 2021-08-10 20:24 | 96 | Unknown | 0 | 12.065 | 110819 | 21.776 | ----- | ----- | ----- | ----- | 1 |  | 6591.3761 | 19809.8036 | 8405.5477 | 20985.0482
59 | BRN10aug21_021.gcd | 2021-08-10 20:54 | 42 | Unknown | 0 | 6.018 | 65629 | 0.132 | ----- | ----- | ----- | ----- | 59 | BRN10aug21_021.gcd | 2021-08-10 20:54 | 42 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN10aug21_021.gcd | 2021-08-10 20:54 | 42 | Unknown | 0 | 12.172 | 6474 | 1.302 | ----- | ----- | ----- | ----- | 1 |  | 203.0954 | 1232.4787 | 172.0006 | 1233.2893
60 | BRN10aug21_022.gcd | 2021-08-10 21:25 | 188 | Unknown | 0 | 5.99 | 11328752 | 23.937 | ----- | ----- | ----- | ----- | 60 | BRN10aug21_022.gcd | 2021-08-10 21:25 | 188 | Unknown | 0 | 5.943 | 84569 | 22.567 | ----- | ----- | ----- | ----- | 60 | BRN10aug21_022.gcd | 2021-08-10 21:25 | 188 | Unknown | 0 | 12.122 | 57414 | 11.382 | ----- | ----- | ----- | ----- | 1 |  | 16642.6471 | 10472.4726 | 21826.0527 | 10920.0999
61 | BRN10aug21_023.gcd | 2021-08-10 21:55 | 169 | Unknown | 0 | 6.022 | 22751 | 0.043 | ----- | ----- | ----- | ----- | 61 | BRN10aug21_023.gcd | 2021-08-10 21:55 | 169 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN10aug21_023.gcd | 2021-08-10 21:55 | 169 | Unknown | 0 | 12.192 | 2258 | 0.46 | ----- | ----- | ----- | ----- | 1 |  | 71.5086 | 453.1432 | 59.4752 | 427.7887
62 | BRN10aug21_024.gcd | 2021-08-10 22:26 | 216 | Unknown | 0 | 6.02 | 38525 | 0.075 | ----- | ----- | ----- | ----- | 62 | BRN10aug21_024.gcd | 2021-08-10 22:26 | 216 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN10aug21_024.gcd | 2021-08-10 22:26 | 216 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 120.2658 | #VALUE! | 100.9228 | #VALUE!
63 | BRN10aug21_025.gcd | 2021-08-10 22:57 | 94 | Unknown | 0 | 5.935 | 30916182 | 67.025 | ----- | ----- | ----- | ----- | 63 | BRN10aug21_025.gcd | 2021-08-10 22:57 | 94 | Unknown | 0 | 5.892 | 247144 | 64.246 | ----- | ----- | ----- | ----- | 63 | BRN10aug21_025.gcd | 2021-08-10 22:57 | 94 | Unknown | 0 | 12.085 | 84539 | 16.683 | ----- | ----- | ----- | ----- | 1 |  | 47692.7939 | 15259.7533 | 62427.9429 | 16043.7911
64 | BRN10aug21_026.gcd | 2021-08-10 23:27 | 130 | Unknown | 0 | 6.018 | 292911 | 0.606 | ----- | ----- | ----- | ----- | 64 | BRN10aug21_026.gcd | 2021-08-10 23:27 | 130 | Unknown | 0 | 5.98 | 2293 | 0.73 | ----- | ----- | ----- | ----- | 64 | BRN10aug21_026.gcd | 2021-08-10 23:27 | 130 | Unknown | 0 | 12.126 | 53777 | 10.668 | ----- | ----- | ----- | ----- | 1 |  | 850.4763 | 9823.5571 | 761.0365 | 10231.281