## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN25may21_001.gcd | 2021-05-25 10:25 | air | Unknown | 0 | 6.108 | 2317 | 0 | ----- | ----- | ----- | ----- | 39 | BRN25may21_001.gcd | 2021-05-25 10:25 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN25may21_001.gcd | 2021-05-25 10:25 | air | Unknown | 0 | 12.234 | 2361 | 0.481 | ----- | ----- | ----- | ----- | 1 |  | 2.0106 | 472.2095 | 1.8318 | 447.4746
40 | BRN25may21_002.gcd | 2021-05-25 10:56 | air + 100 | Unknown | 0 | 6.002 | 1092495 | 2.275 | ----- | ----- | ----- | ----- | 40 | BRN25may21_002.gcd | 2021-05-25 10:56 | air + 100 | Unknown | 0 | 5.956 | 8657 | 2.438 | ----- | ----- | ----- | ----- | 40 | BRN25may21_002.gcd | 2021-05-25 10:56 | air + 100 | Unknown | 0 | 12.18 | 11464 | 2.297 | ----- | ----- | ----- | ----- | 1 |  | 2203.7105 | 2152.0062 | 2504.2507 | 2185.9219
41 | BRN25may21_003.gcd | 2021-05-25 11:26 | 168 | Unknown | 0 | 6.002 | 275609 | 0.57 | ----- | ----- | ----- | ----- | 41 | BRN25may21_003.gcd | 2021-05-25 11:26 | 168 | Unknown | 0 | 5.954 | 2043 | 0.663 | ----- | ----- | ----- | ----- | 41 | BRN25may21_003.gcd | 2021-05-25 11:26 | 168 | Unknown | 0 | 12.125 | 27018 | 5.387 | ----- | ----- | ----- | ----- | 1 |  | 804.1593 | 4998.1468 | 716.635 | 5150.1143
42 | BRN25may21_004.gcd | 2021-05-25 11:57 | 134 | Unknown | 0 | 6.037 | 4596 | 0.005 | ----- | ----- | ----- | ----- | 42 | BRN25may21_004.gcd | 2021-05-25 11:57 | 134 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN25may21_004.gcd | 2021-05-25 11:57 | 134 | Unknown | 0 | 12.087 | 62022 | 12.286 | ----- | ----- | ----- | ----- | 1 |  | 8.51 | 11292.2497 | 9.6314 | 11792.2006
43 | BRN25may21_005.gcd | 2021-05-25 12:28 | 113 | Unknown | 0 | 6.024 | 242803 | 0.501 | ----- | ----- | ----- | ----- | 43 | BRN25may21_005.gcd | 2021-05-25 12:28 | 113 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN25may21_005.gcd | 2021-05-25 12:28 | 113 | Unknown | 0 | 12.156 | 24056 | 4.8 | ----- | ----- | ----- | ----- | 1 |  | 714.9967 | 4458.488 | 632.2474 | 4586.2397
44 | BRN25may21_006.gcd | 2021-05-25 12:58 | 194 | Unknown | 0 | 6.013 | 5179 | 0.006 | ----- | ----- | ----- | ----- | 44 | BRN25may21_006.gcd | 2021-05-25 12:58 | 194 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN25may21_006.gcd | 2021-05-25 12:58 | 194 | Unknown | 0 | 12.115 | 42732 | 8.494 | ----- | ----- | ----- | ----- | 1 |  | 10.2082 | 7842.7233 | 11.53 | 8136.8093
45 | BRN25may21_007.gcd | 2021-05-25 13:29 | 34 | Unknown | 0 | 6.032 | 8540 | 0.013 | ----- | ----- | ----- | ----- | 45 | BRN25may21_007.gcd | 2021-05-25 13:29 | 34 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN25may21_007.gcd | 2021-05-25 13:29 | 34 | Unknown | 0 | 12.18 | 3939 | 0.796 | ----- | ----- | ----- | ----- | 1 |  | 20.2795 | 764.1467 | 21.707 | 749.0265
46 | BRN25may21_008.gcd | 2021-05-25 14:00 | 135 | Unknown | 0 | 6.028 | 33075 | 0.064 | ----- | ----- | ----- | ----- | 46 | BRN25may21_008.gcd | 2021-05-25 14:00 | 135 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN25may21_008.gcd | 2021-05-25 14:00 | 135 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | CO2 bd | 103.4659 | #VALUE! | 86.6093 | #VALUE!
47 | BRN25may21_009.gcd | 2021-05-25 14:31 | 203 | Unknown | 0 | 6.016 | 5434 | 0.007 | ----- | ----- | ----- | ----- | 47 | BRN25may21_009.gcd | 2021-05-25 14:31 | 203 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN25may21_009.gcd | 2021-05-25 14:31 | 203 | Unknown | 0 | 12.115 | 44740 | 8.889 | ----- | ----- | ----- | ----- | 1 |  | 10.9554 | 8203.9813 | 12.348 | 8517.8829
48 | BRN25may21_010.gcd | 2021-05-25 15:01 | 96 | Unknown | 0 | 6.046 | 2888 | 0.001 | ----- | ----- | ----- | ----- | 48 | BRN25may21_010.gcd | 2021-05-25 15:01 | 96 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN25may21_010.gcd | 2021-05-25 15:01 | 96 | Unknown | 0 | 12.137 | 49989 | 9.923 | ----- | ----- | ----- | ----- | 1 |  | 3.6183 | 9145.9346 | 3.8425 | 9513.4067
49 | BRN25may21_011.gcd | 2021-05-25 15:32 | 173 | Unknown | 0 | 6.029 | 40224 | 0.079 | ----- | ----- | ----- | ----- | 49 | BRN25may21_011.gcd | 2021-05-25 15:32 | 173 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN25may21_011.gcd | 2021-05-25 15:32 | 173 | Unknown | 0 | 12.056 | 588 | 0.126 | ----- | ----- | ----- | ----- | 1 |  | 125.4932 | 143.8235 | 105.3835 | 108.562
50 | BRN25may21_012.gcd | 2021-05-25 16:03 | 217 | Unknown | 0 | 6.006 | 36232 | 0.071 | ----- | ----- | ----- | ----- | 50 | BRN25may21_012.gcd | 2021-05-25 16:03 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN25may21_012.gcd | 2021-05-25 16:03 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | CO2 bd | 113.2034 | #VALUE! | 94.9015 | #VALUE!
51 | BRN25may21_013.gcd | 2021-05-25 16:34 | 107 | Unknown | 0 | 6.014 | 8546 | 0.013 | ----- | ----- | ----- | ----- | 51 | BRN25may21_013.gcd | 2021-05-25 16:34 | 107 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN25may21_013.gcd | 2021-05-25 16:34 | 107 | Unknown | 0 | 12.14 | 5817 | 1.171 | ----- | ----- | ----- | ----- | 1 |  | 20.2979 | 1111.1778 | 21.724 | 1107.8022
52 | BRN25may21_014.gcd | 2021-05-25 17:04 | 18 | Unknown | 0 | 6.078 | 2689 | 0.001 | ----- | ----- | ----- | ----- | 52 | BRN25may21_014.gcd | 2021-05-25 17:04 | 18 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN25may21_014.gcd | 2021-05-25 17:04 | 18 | Unknown | 0 | 12.138 | 45621 | 9.063 | ----- | ----- | ----- | ----- | 1 |  | 3.0564 | 8362.3217 | 3.146 | 8685.0357
53 | BRN25may21_015.gcd | 2021-05-25 17:35 | 95 | Unknown | 0 | 6.061 | 2963 | 0.001 | ----- | ----- | ----- | ----- | 53 | BRN25may21_015.gcd | 2021-05-25 17:35 | 95 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN25may21_015.gcd | 2021-05-25 17:35 | 95 | Unknown | 0 | 12.172 | 8117 | 1.63 | ----- | ----- | ----- | ----- | 1 |  | 3.8305 | 1535.5862 | 4.1038 | 1547.0411
54 | BRN25may21_016.gcd | 2021-05-25 18:06 | 208 | Unknown | 0 | 6.029 | 3552 | 0.003 | ----- | ----- | ----- | ----- | 54 | BRN25may21_016.gcd | 2021-05-25 18:06 | 208 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN25may21_016.gcd | 2021-05-25 18:06 | 208 | Unknown | 0 | 12.115 | 39572 | 7.87 | ----- | ----- | ----- | ----- | 1 |  | 5.5053 | 7273.1845 | 6.1332 | 7536.8462
55 | BRN25may21_017.gcd | 2021-05-25 18:36 | 197 | Unknown | 0 | 6.032 | 3808 | 0.003 | ----- | ----- | ----- | ----- | 55 | BRN25may21_017.gcd | 2021-05-25 18:36 | 197 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN25may21_017.gcd | 2021-05-25 18:36 | 197 | Unknown | 0 | 12.105 | 60383 | 11.964 | ----- | ----- | ----- | ----- | 1 |  | 6.2378 | 11000.9721 | 7.0027 | 11482.0859
56 | BRN25may21_018.gcd | 2021-05-25 19:07 | 85 | Unknown | 0 | 6.052 | 3402 | 0.002 | ----- | ----- | ----- | ----- | 56 | BRN25may21_018.gcd | 2021-05-25 19:07 | 85 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN25may21_018.gcd | 2021-05-25 19:07 | 85 | Unknown | 0 | 12.15 | 9001 | 1.806 | ----- | ----- | ----- | ----- | 1 |  | 5.0773 | 1698.5299 | 5.6202 | 1715.8158
57 | BRN25may21_019.gcd | 2021-05-25 19:38 | 23 | Unknown | 0 | 6.032 | 34200 | 0.066 | ----- | ----- | ----- | ----- | 57 | BRN25may21_019.gcd | 2021-05-25 19:38 | 23 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN25may21_019.gcd | 2021-05-25 19:38 | 23 | Unknown | 0 | 12.153 | 279 | 0.065 | ----- | ----- | ----- | ----- | 1 |  | 106.9377 | 86.5517 | 89.5645 | 49.4855
58 | BRN25may21_020.gcd | 2021-05-25 20:08 | 164 | Unknown | 0 | 6.058 | 3165 | 0.002 | ----- | ----- | ----- | ----- | 58 | BRN25may21_020.gcd | 2021-05-25 20:08 | 164 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN25may21_020.gcd | 2021-05-25 20:08 | 164 | Unknown | 0 | 12.141 | 41023 | 8.156 | ----- | ----- | ----- | ----- | 1 |  | 4.4032 | 7534.8594 | 4.8043 | 7812.3759