## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN14jun21_001.gcd | 2021-06-14 11:40 | air | Unknown | 0 | 6.047 | 942 | -0.003 | ----- | ----- | ----- | ----- | 39 | BRN14jun21_001.gcd | 2021-06-14 11:40 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN14jun21_001.gcd | 2021-06-14 11:40 | air | Unknown | 0 | 12.215 | 2445 | 0.497 | ----- | ----- | ----- | ----- | 1 |  | -1.804 | 487.7578 | -3.1652 | 463.5288
40 | BRN14jun21_002.gcd | 2021-06-14 12:11 | air + 100 | Unknown | 0 | 6.07 | 1086 | -0.003 | ----- | ----- | ----- | ----- | 40 | BRN14jun21_002.gcd | 2021-06-14 12:11 | air + 100 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN14jun21_002.gcd | 2021-06-14 12:11 | air + 100 | Unknown | 0 | 12.191 | 1891 | 0.387 | ----- | ----- | ----- | ----- | 1 |  | -1.4083 | 385.1969 | -2.6316 | 357.6431
41 | BRN14jun21_003.gcd | 2021-06-14 12:42 | 121 | Unknown | 0 | 6.029 | 1198 | -0.002 | ----- | ----- | ----- | ----- | 41 | BRN14jun21_003.gcd | 2021-06-14 12:42 | 121 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN14jun21_003.gcd | 2021-06-14 12:42 | 121 | Unknown | 0 | 12.151 | 9884 | 1.982 | ----- | ----- | ----- | ----- | 1 |  | -1.0999 | 1861.1914 | -2.2182 | 1884.3743
42 | BRN14jun21_004.gcd | 2021-06-14 13:12 | 12 | Unknown | 0 | 6.028 | 49193 | 0.098 | ----- | ----- | ----- | ----- | 42 | BRN14jun21_004.gcd | 2021-06-14 13:12 | 12 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN14jun21_004.gcd | 2021-06-14 13:12 | 12 | Unknown | 0 | 12.098 | 87203 | 17.201 | ----- | ----- | ----- | ----- | 1 |  | 153.0102 | 15724.9403 | 128.9199 | 16545.7087
43 | BRN14jun21_005.gcd | 2021-06-14 13:43 | 127 | Unknown | 0 | 6.029 | 36796 | 0.072 | ----- | ----- | ----- | ----- | 43 | BRN14jun21_005.gcd | 2021-06-14 13:43 | 127 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN14jun21_005.gcd | 2021-06-14 13:43 | 127 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 114.9413 | #VALUE! | 96.3827 | #VALUE!
44 | BRN14jun21_006.gcd | 2021-06-14 14:14 | 215 | Unknown | 0 | 6.105 | 979 | -0.003 | ----- | ----- | ----- | ----- | 44 | BRN14jun21_006.gcd | 2021-06-14 14:14 | 215 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN14jun21_006.gcd | 2021-06-14 14:14 | 215 | Unknown | 0 | 12.133 | 52161 | 10.35 | ----- | ----- | ----- | ----- | 1 |  | -1.7024 | 9534.6967 | -3.0278 | 9925.0855
45 | BRN14jun21_007.gcd | 2021-06-14 14:44 | 41 | Unknown | 0 | 6.012 | 5870139 | 12.317 | ----- | ----- | ----- | ----- | 45 | BRN14jun21_007.gcd | 2021-06-14 14:44 | 41 | Unknown | 0 | 5.965 | 44397 | 11.971 | ----- | ----- | ----- | ----- | 45 | BRN14jun21_007.gcd | 2021-06-14 14:44 | 41 | Unknown | 0 | 12.149 | 36556 | 7.275 | ----- | ----- | ----- | ----- | 1 |  | 8996.9653 | 6728.4303 | 11629.931 | 6963.9203
46 | BRN14jun21_008.gcd | 2021-06-14 15:15 | 206 | Unknown | 0 | 6.03 | 44779 | 0.089 | ----- | ----- | ----- | ----- | 46 | BRN14jun21_008.gcd | 2021-06-14 15:15 | 206 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN14jun21_008.gcd | 2021-06-14 15:15 | 206 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 139.4844 | #VALUE! | 117.3391 | #VALUE!
47 | BRN14jun21_009.gcd | 2021-06-14 15:46 | 177 | Unknown | 0 | 6.055 | 1227 | -0.002 | ----- | ----- | ----- | ----- | 47 | BRN14jun21_009.gcd | 2021-06-14 15:46 | 177 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN14jun21_009.gcd | 2021-06-14 15:46 | 177 | Unknown | 0 | 12.113 | 52713 | 10.459 | ----- | ----- | ----- | ----- | 1 |  | -1.02 | 9633.4037 | -2.1114 | 10029.6866
48 | BRN14jun21_010.gcd | 2021-06-14 16:17 | 76 | Unknown | 0 | 6.003 | 664049 | 1.38 | ----- | ----- | ----- | ----- | 48 | BRN14jun21_010.gcd | 2021-06-14 16:17 | 76 | Unknown | 0 | 5.955 | 6664 | 1.904 | ----- | ----- | ----- | ----- | 48 | BRN14jun21_010.gcd | 2021-06-14 16:17 | 76 | Unknown | 0 | 12.101 | 59891 | 11.868 | ----- | ----- | ----- | ----- | 1 |  | 1726.3357 | 10913.4697 | 1696.0458 | 11388.9777
49 | BRN14jun21_011.gcd | 2021-06-14 16:47 | 189 | Unknown | 0 | 6.009 | 47272 | 0.094 | ----- | ----- | ----- | ----- | 49 | BRN14jun21_011.gcd | 2021-06-14 16:47 | 189 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN14jun21_011.gcd | 2021-06-14 16:47 | 189 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 147.1276 | #VALUE! | 123.8805 | #VALUE!
50 | BRN14jun21_012.gcd | 2021-06-14 17:18 | 88 | Unknown | 0 | 6.008 | 64428 | 0.129 | ----- | ----- | ----- | ----- | 50 | BRN14jun21_012.gcd | 2021-06-14 17:18 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN14jun21_012.gcd | 2021-06-14 17:18 | 88 | Unknown | 0 | 12.142 | 26756 | 5.335 | ----- | ----- | ----- | ----- | 1 |  | 199.4505 | 4950.4564 | 168.8548 | 5100.2489
51 | BRN14jun21_013.gcd | 2021-06-14 17:49 | 159 | Unknown | 0 | 6.046 | 3719 | 0.003 | ----- | ----- | ----- | ----- | 51 | BRN14jun21_013.gcd | 2021-06-14 17:49 | 159 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN14jun21_013.gcd | 2021-06-14 17:49 | 159 | Unknown | 0 | 12.177 | 20671 | 4.128 | ----- | ----- | ----- | ----- | 1 |  | 5.9828 | 3840.4124 | 6.7012 | 3941.4895
52 | BRN14jun21_014.gcd | 2021-06-14 18:19 | 205 | Unknown | 0 | 6.039 | 4272 | 0.004 | ----- | ----- | ----- | ----- | 52 | BRN14jun21_014.gcd | 2021-06-14 18:19 | 205 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN14jun21_014.gcd | 2021-06-14 18:19 | 205 | Unknown | 0 | 12.178 | 21094 | 4.212 | ----- | ----- | ----- | ----- | 1 |  | 7.5726 | 3917.7277 | 8.5593 | 4022.0798
53 | BRN14jun21_015.gcd | 2021-06-14 18:50 | 182 | Unknown | 0 | 6.009 | 42392 | 0.084 | ----- | ----- | ----- | ----- | 53 | BRN14jun21_015.gcd | 2021-06-14 18:50 | 182 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN14jun21_015.gcd | 2021-06-14 18:50 | 182 | Unknown | 0 | 12.072 | 96236 | 18.955 | ----- | ----- | ----- | ----- | 1 |  | 132.1567 | 17295.6483 | 111.0746 | 18245.8754
54 | BRN14jun21_016.gcd | 2021-06-14 19:21 | 211 | Unknown | 0 | 6.024 | 4811075 | 10.081 | ----- | ----- | ----- | ----- | 54 | BRN14jun21_016.gcd | 2021-06-14 19:21 | 211 | Unknown | 0 | 5.977 | 39094 | 10.563 | ----- | ----- | ----- | ----- | 54 | BRN14jun21_016.gcd | 2021-06-14 19:21 | 211 | Unknown | 0 | 12.134 | 68505 | 13.555 | ----- | ----- | ----- | ----- | 1 |  | 7988.4712 | 12441.0815 | 10279.1278 | 13017.9909
55 | BRN14jun21_017.gcd | 2021-06-14 19:52 | 21 | Unknown | 0 | 6.035 | 66147 | 0.133 | ----- | ----- | ----- | ----- | 55 | BRN14jun21_017.gcd | 2021-06-14 19:52 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN14jun21_017.gcd | 2021-06-14 19:52 | 21 | Unknown | 0 | 12.175 | 28616 | 5.704 | ----- | ----- | ----- | ----- | 1 |  | 204.6667 | 5288.8356 | 173.3573 | 5454.2063
56 | BRN14jun21_018.gcd | 2021-06-14 20:23 | 81 | Unknown | 0 | 6.054 | 1652 | -0.001 | ----- | ----- | ----- | ----- | 56 | BRN14jun21_018.gcd | 2021-06-14 20:23 | 81 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN14jun21_018.gcd | 2021-06-14 20:23 | 81 | Unknown | 0 | 12.164 | 10020 | 2.009 | ----- | ----- | ----- | ----- | 1 |  | 0.15565 | 1886.2359 | -0.55756 | 1910.3335
57 | BRN14jun21_019.gcd | 2021-06-14 20:53 | 161 | Unknown | 0 | 6.105 | 859 | -0.003 | ----- | ----- | ----- | ----- | 57 | BRN14jun21_019.gcd | 2021-06-14 20:53 | 161 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN14jun21_019.gcd | 2021-06-14 20:53 | 161 | Unknown | 0 | 12.11 | 55997 | 11.104 | ----- | ----- | ----- | ----- | 1 |  | -2.0317 | 10219.8482 | -3.4738 | 10651.7825
58 | BRN14jun21_020.gcd | 2021-06-14 21:24 | 10 | Unknown | 0 | 6.036 | 54928 | 0.11 | ----- | ----- | ----- | ----- | 58 | BRN14jun21_020.gcd | 2021-06-14 21:24 | 10 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN14jun21_020.gcd | 2021-06-14 21:24 | 10 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 170.5365 | #VALUE! | 143.9594 | #VALUE!
59 | BRN14jun21_021.gcd | 2021-06-14 21:55 | 72 | Unknown | 0 | 6.008 | 2582 | 0.001 | ----- | ----- | ----- | ----- | 59 | BRN14jun21_021.gcd | 2021-06-14 21:55 | 72 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN14jun21_021.gcd | 2021-06-14 21:55 | 72 | Unknown | 0 | 12.098 | 71134 | 14.069 | ----- | ----- | ----- | ----- | 1 |  | 2.755 | 12905.4545 | 2.7696 | 13514.6865
60 | BRN14jun21_022.gcd | 2021-06-14 22:25 | 190 | Unknown | 0 | 6.169 | 831 | -0.003 | ----- | ----- | ----- | ----- | 60 | BRN14jun21_022.gcd | 2021-06-14 22:25 | 190 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN14jun21_022.gcd | 2021-06-14 22:25 | 190 | Unknown | 0 | 12.148 | 51311 | 10.183 | ----- | ----- | ----- | ----- | 1 |  | -2.1085 | 9382.6274 | -3.5781 | 9763.9956
I broke vial 124. Sorry!